VISUAL DEFECT

Recommendation:. If the length of the cable is insufficient, a short XLPE cable (short length) should be stretched from the cable trench in the substation to the outside of the substation. A new connection (Straight through joint/Transition joint for PILC cable) and a new termination must be made.