## PCE Testsheet
[22 empty] | CBM CONDITION |  | NORMAL
DISTRIBUTION SUBSTATION (PCE) CBA TEST SHEET
STATE / AREA: |  | JOHOR / JOHOR BAHRU | [6 empty] | DATE | [12 empty] | FUNCTIONAL LOCATION:
PE NAME: | [8 empty] | TIME IN / OUT | [7 empty] | / |  |  |  |  | JJBU/PCE/J
V.I REF. NO |  | 0 | [6 empty] | TEV BACK GROUND / HUMIDITY | [6 empty] | dB | / |  |  | % |  | BACKGROUND TEMP : °C
SWITCHGEAR
DETAIL | [8 empty] | TEMPERATURE | [6 empty] | ULTRASOUND |  |  | TEV |  |  | REMARK
NO. | FDR. NO | FEEDER NAME |  | STATUS (TRIP / CLOSE) | LOAD (A) | CABLE TYPE/SIZE | HEATER (A) | SERIAL NO (ONLY BREAKER & OLU) | COMP | Tmin (°C) | Tmax (°C) | ΔT | Avg (°C) | FILE | REMARKS | dB | FILE | TYPE CHAR. | dB | PULSE/ CYCLE | TYPE CHAR.
1 | [8 empty] | CABLE
BREAKER
TOP PANEL
PT
2 | [8 empty] | CABLE
BREAKER
TOP PANEL
PT
3 | [8 empty] | CABLE
BREAKER
TOP PANEL
PT
4 | [8 empty] | CABLE
BREAKER
TOP PANEL
PT
OVERVIEW | [8 empty] | CABLE
BREAKER
TOP PANEL
PT
LOCAL TRANSFORMER
DETAILS |  |  |  |  | THERMOGRAHY |  |  |  |  | ULTRASOUND |  | DETAILS |  |  |  | THERMOGRAHY | [5 empty] | ULTRASOUND
TX ID | SERIAL NO | CABLE TYPE/SIZE | REMARK | COMP. | Tmin(°C) | Tmax(°C) | ΔT | Avg (°C) | FILE | dB | TYPE CHAR. | TX ID | SERIAL NO | CABLE TYPE/SIZE | COMP. | Tmin(°C) | Tmax(°C) | ΔT | Avg (°C) | FILE | dB | FILE | TYPE CHAR. | REMARKS
TX1 |  |  |  | HT CABLE | [7 empty] | TX3 |  |  | HT CABLE
|  |  |  | HT BUSHING | [10 empty] | HT BUSHING
|  |  |  | LV CABLE | [10 empty] | LV CABLE
|  |  |  | LV BUSHING | [10 empty] | LV BUSHING
|  |  |  | BODY | [10 empty] | BODY
TX2 |  |  |  | HT CABLE | [7 empty] | TX4 |  |  | HT CABLE
|  |  |  | HT BUSHING | [10 empty] | HT BUSHING
|  |  |  | LV CABLE | [10 empty] | LV CABLE
|  |  |  | LV BUSHING | [10 empty] | LV BUSHING
|  |  |  | BODY | [10 empty] | BODY
LV DISTRIBUTION BOARD/FEEDER PILLAR/OTHERS
1 | LVDB / FP 1 |  | INC. 1 | INC. 2 |  | INC. 3 |  | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10
CABLE TYPE / SIZE
2 | LVDB / FP 2 |  | INC. 1 | INC. 2 |  | INC. 3 |  | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10
CABLE TYPE / SIZE
NO | LVDB / FP | DEFECTIVE FEEDER NAME |  | Tmin(°C) | Tmax(°C) | ΔT | FILE | F1: Avg (°C); F2: REMARK; F10: LVDB |  | TX1
| INC 1 | [17 empty] | Manufacturer :
| INC 2 | [17 empty] | Serial No. :
| F1 | [17 empty] | Rating :
| F2 | [6 empty] | F10: LVDB |  | TX2
| F3 | [17 empty] | Manufacturer :
| F4 | [17 empty] | Serial No. :
| F5 | [17 empty] | Rating :
F6
F7
F8
Battery Bank
Black Box 1
Black Box 2
Lightning Arrester
Dropout Fuse
Auto Recloser
LBS
| Tested by (Name & Signature) : |  |  |  | {{signvendor}} |  |  | F8: TNB Supervisor/Engineer (Name & Signature) : |  |  |  | {{signtnb}}
Ver. : 1-2019
Note on P5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 24hrs format e.g. 2100
Note on B49: Author: Tambahan
Note on B50: Tambahan
Note on B51: Tambahan
Note on B52: Tambahan
Note on B53: Tambahan
Note on B54: Tambahan
Note on B55: Tambahan
Note on B58: Tambahan
Note on B62: Author: Tambahan
Note on B63: Tambahan
Note on B65: Tambahan

## PCE VI
[11 empty] | TYPE |  | 0
VISUAL INSPECTION CHECKLIST FOR 11kV SUBSTATION
DATE: | 0
P/E Name (ERMS): | [7 empty] | F/L NO (ERMS): | JJBU/PCE/J
P/E Name (SITE): | [7 empty] | F/L NO (SITE):
GPS Coordinate:
PCE Type: | INDOOR |  |  | OUTDOOR |  | COMPACT |  | ATTACH BUILDING |  | PAT |  | OTHER
PCE Area | NORMAL |  |  | INDUSTRIAL |  | COASTAL
Switcgear Type 1: | RMU OIL |  |  | RMU SF6 |  | MRMU |  | VCB |  | OCB |  | OTHER
Manufacturer/Model:
Switchgear Manufactured Date: | [5 empty] | Switchgear Rating : |  |  |  |  | RMU SF6 / OIL S/N :
Switcgear Type 2: | RMU OIL |  |  | RMU SF6 |  | MRMU |  | VCB |  | OCB |  | OTHER
Manufacturer/Modal:
Switchgear Manufactured Date: | [5 empty] | Switchgear Rating : |  |  |  |  | RMU SF6 / OIL S/N :
No. of Transformer:
Tx 1: | Type |  | KVA |  | Construction Yr: |  |  | Manufacturer: |  |  |  | S/N :
Tx 2: | Type |  | KVA |  | Construction Yr: |  |  | Manufacturer: |  |  |  | S/N :
Tx 3: | Type |  | KVA |  | Construction Yr: |  |  | Manufacturer: |  |  |  | S/N :
Tx 4: | Type |  | KVA |  | Construction Yr: |  |  | Manufacturer: |  |  |  | S/N :
KEJANGGALAN
1. Signboard: |  | Good |  | Not Good |  | Remarks | N/A
2. Earth connection: |  | Good |  | Not Good |  | Remarks | N/A
3. EFI Functioning: |  | Good |  | Not Good |  | Remarks | N/A
4. Heater Functioning: |  | Good |  | Not Good |  | Remarks | N/A
5. Labelling @Switchgear: |  | Good |  | Not Good |  | Remarks | N/A
6. Labelling @ LVDB: |  | Good |  | Not Good |  | Remarks | N/A
7. Gas Pressure: |  | Good |  | Not Good |  | Remarks | N/A
8. Tx Guard: |  | YES |  | NO |  | Remarks | N/A
9. Tx Oil Level (conservator tank): |  | Good |  | Not Good |  | Remarks | N/A
10. Tx Oil Leak: |  | YES |  | NO |  | Remarks | N/A
11. Tx Bushing: |  | Good |  | Not Good |  | Remarks | N/A
12. Top Demand Indicator (@LVDB): |  | Good |  | Not Good |  | Remarks | N/A
13. Link/fuse Holder: |  | Good |  | Not Good |  | Remarks | N/A
14. LV Termination: |  | Good |  | Not Good |  | Remarks | N/A
15. Rubber Mat: |  | YES |  | NO |  | Remarks | N/A
16. Trenching: |  | Good |  | Not Good |  | Remarks | N/A
17. Battery Voltage: |  | Good |  | Not Good |  | Remarks | N/A
18. Lighting: |  | Good |  | Not Good |  | Remarks | N/A
19. Roof Condition: |  | Good |  | Not Good |  | Remarks | N/A
20. Fire Fighting |  | Valid |  | Expired |  | Remarks | Expiry Date: |  |  | No. of missing portable : |  | -
21. Fence/door condition: |  | Good |  | Not Good |  | Remarks | N/A
22. Cleanliness/Bushes: |  | YES |  | NO |  | Remarks | N/A
23. Vandalisme |  | YES |  | NO |  | Remarks | N/A
24. Other Findings:
Tested by (Name & Signature) : |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature) : |  |  |  |  | {{signtnb}}
Date : | [5 empty] | Date :
Ver. : 1-2019

## ASSET_11 (hidden)
ASSET 11KV | SCOPE IR | SCOPE IR DETAILS | SCOPE IR RATE | SCOPE IR+US | SCOPE IR+US DETAILS | SCOPE IR+US RATE | FULL SCOPE | FULL SCOPE DETAILS | FULL SCOPE RATE
PCE | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
PCE (NO RMU) | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | - | - | -
PCE 33 | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
PCE 33 (NO RMU) | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | - | - | -
PAT | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | - | - | -
PAT+RMU | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
PAT 33 | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | - | - | -
PAT 33+RMU | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
SS | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
CS | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
PE VCB =< 8 | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
PE VCB > 8 | 2010323051 | SCAN,THERMO VT,PE 11KV,> 8VCB | 473.9 | 2010323054 | SCAN,THERMO & USD VT,PE 11KV,> 8VCB | 670.8 | 2010323056 | SCAN,THERMO, USD & TEV VT,PE 11KV,> 8VCB | 1217.6
SSU =< 8 | 2010323000 | SCAN,THERMO VT,PE | 250 | 2010323030 | SCAN,THERMO & ULTRASOUND VT,PE | 315 | 2010323038 | SCAN,THERMO & USD & TEV VT,PE | 395
SSU > 8 | 2010323051 | SCAN,THERMO VT,PE 11KV,> 8VCB | 473.9 | 2010323054 | SCAN,THERMO & USD VT,PE 11KV,> 8VCB | 670.8 | 2010323056 | SCAN,THERMO, USD & TEV VT,PE 11KV,> 8VCB | 1217.6
LINK | - | - | - | - | - | - | - | - | -
DECOMM | - | - | - | - | - | - | - | - | -
UPGRADE PROCESS | - | - | - | - | - | - | - | - | -
CANT ACCESS
DUPLICATE
DISMANTLE

## Model (hidden)
Column1 | Model | ITEM | TAMCO | INDKOM | INFRAKOMAS | ABB | TOSHIBA | EPE | F&G | ALSTOM | AREVA | SIEMENS | MERLIN GERIN | TOPRANK | LUCY | TSG | MITSUBISHI | ORMAZABAL | SCHNEIDER | FUJI | SSE | IIESB | RANHILL | S&S POWER | S&S AMPSTON | S&S TOPRANK | ANZECO | AEG | GEC | TOSHIBA TOPRANK | BHARAT HEAVY | AR | ASEA | NINGBO TIANAN | MEIDEN | HITACHI | HI-VAC | BERKAT INSAF | SUNPOWER TECHNOLOGIES | ACEC | ASEA LEPPER | CHANG CHING | ELIN | EMO-OHRID | EWT | IEO TRANSFORMATOREN BREDA | KIRLOSKAR | LKH | MINEL-TRAFO | MITSUBISHI_1 | MTM | NACC | NEW KOREA | ONAN | PAUWEL TRAFO | SCHNEIDER_2 | SGB | T.M.C.-S.A. | TOSHIBA_3 | WODEN
5 | MODEL | 3AH5 103-1 | ~VCB~ | CB 112 JMW12 KV | 3S+1F | CEI 17-1 | GT16-12 | 12A20 | ZZT | WSB 6/36-2/627 | WSB | 8DA10 | RN2C | 2L1T | AEGIS | BJ12 | V-10F-20 | GA2K1TS | RN2c |  | VRN2A |  |  | HVV-12 |  | ID3L | CSGO |  | CVG-20F-25 | [5 empty] | BF-12 | CVG-20F-25 | CVG-20F-25 | SEB100-30-10 |  | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | DRY | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL | HERMETICALLY SEAL
6 | MODEL | 3AH5 104-2 | GV3 | INS 24 RCB | 2S+1F | GV3M/18 | GT18-40.5 | 12A25 | INS24 | SBV4 |  | 8DB10 | RN2 | HV-12 | VRN6A | CPG | ~LTX/DTX~ | CA6303K1TS | NE-IQI |  | VRN6A |  |  | HHV-12 |  |  |  |  | CVG-20F-25A | [6 empty] | CVG-20F-25A |  |  |  | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK |  | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK | CONSERVATOR TANK
3 | MODEL | 3AH5546 | GV30M25 | CB JMW 112 |  | HA2/ZC | HV-12 | 36A25 | ZZTT |  |  | 8DJ20.10 | 6 | HV-36 | VRN2A | GA6302K1TS | HERMETICALLY SEAL | 2K2TS | RM6 | [9 empty] | CVG-10F-20 | [6 empty] | CVG-10F-20
7 | MODEL | 3HA5 104-2 | GV30M25B | INS24 |  | HD4 | VT15-12 | 36A25-1 |  |  |  | 8DJH |  | ID2L+2T |  | CPG.0 | CONSERVATOR TANK |  | ~LTX/DTX~
9 | MODEL | 8BK-88 | GV30M25D |  |  | IVBG | VT18-40.5 | 3S |  |  |  | 8DJH RRT |  | ID3L+1T |  |  |  |  | HERMETICALLY SEAL
4 | MODEL | 8BK88 K18 | GV30NM25 |  |  | SACE | VY | BGA-32 |  |  |  | 8DJH20 |  | VH3D |  |  |  |  | CONSERVATOR TANK
10 | MODEL | 8BK-88E | GV30P25 |  |  | SACE HA3 / BEU-37-12-26 | X6N49S-40.5(Z) | BGA-36 |  |  |  | 8DJH20.71
2 | MODEL | 8BK-88K12 | GV30P25D |  |  | SACE HAZ | X6N94S-40.5(Z) | CCC |  |  |  | 3AH4945
8 | MODEL | 8DA10 | GV3D |  |  | SACE HAZ/ZC | XBN498-40.5(Z) | CCTI
11 | MODEL | 8DB | VH3 |  |  | VD4 | XCN498 | DGA-32
12 | MODEL | 8DB10 | VH3D |  |  | VD4E | XCN75 | HICLAD 100
13 | MODEL | 8DJH RRT | VHID |  |  | VD4E 1206 P20 | XGN | HICLAD 10D
1 | MODEL | NXPLUS C | VHIH |  |  | VD4X | XGN498-40.5(Z) | V-32 DBB
14 | MODEL |  | VK10J20D |  |  | VD4X 3612-25 | XGN49S | VB7-25/8D
15 | MODEL |  | VK10J20H |  |  | VD4X 4012-25 | XGN49S-40.5 | VFT-12
25 | MODEL |  | VK10J25D |  |  | VDX 3612-25 | XGN49S-40.5(Z) | VFT-12-106
26 | MODEL |  | VK10J25H |  |  | VMAX | XGN75-12(Z) | VFT-12D
27 | MODEL |  | VK10P25 |  |  | ZV2 | ~LTX/DTX~ | VGA-32
28 | MODEL |  | VK10P25D |  |  | ZV2.3 | HERMETICALLY SEAL | VH32
29 | MODEL |  | VK10P25DT |  |  |  | CONSERVATOR TANK | VJ-22
30 | MODEL |  | VK10P25H |  |  |  |  | VJ-32
31 | MODEL |  | VK12 |  |  |  |  | VJ-32 DBB
32 | MODEL |  | VK12D |  |  |  |  | VPT-12
33 | MODEL |  | VV30M25D |  |  |  |  | VRN29
35 | MODEL |  | VW-20M25
36 | MODEL |  | VY-30M
37 | MODEL |  | VY30M25D
38 | MODEL |  | VY30M25DT
39 | MODEL |  | VY30M26ST
41 | MODEL |  | VY30P25D
24 | MODEL |  | VY-30P25D
34 | MODEL |  | WSB
40 | MODEL |  | ~RMU~
16 | MODEL |  | FALCONBETA
17 | MODEL |  | GR1
18 | MODEL
19 | MODEL
20 | MODEL
21 | MODEL
22 | MODEL
23 | MODEL
42 | MODEL
43 | MODEL
44 | MODEL
45 | MODEL
46 | MODEL
47 | MODEL
48 | MODEL
49 | MODEL
50 | MODEL
51 | MODEL
52 | MODEL
53 | MODEL
54 | MODEL
55 | MODEL
56 | MODEL
57 | MODEL
OFFSET(Model!$C$1,1,MATCH($M3,Model!$C$1:$BZ$1,0)-1,COUNTA(OFFSET(Model!$C$1,1,MATCH($M3,Model!$C$1:$BZ$1,0)-1,57)),1)

## Brand (hidden)
Column1 | EQUIPMENT | VCB 33kV | VCB 22kV | VCB 11kV | VCB 6.6kV | GIS 33kV | GIS 22kV | GIS 11kV | RMU SF6 | RMU OIL | CABLE SWG | PTX | CABLE PTX | LTX/DTX | CABLE LTX/DTX | FP (J) | LVDB | FP (D) | CABLE LVDB/FP | LINK BOX | BREAKER (SW YARD) | ISOLATOR (SW YARD) | CT (SW YARD) | BLACK BOX | BATTERY CHARGER | EARTHING | ISOLATOR LINK | PIN ISOLATOR | DROPOUT FUSE | LBS | LIGHTNING ARRESTOR | AUTO RECLOSER | PT AR
1 | BRAND | ABB | ABB | ABB | ABB | ABB | SIEMENS | ABB | INDKOM | TAMCO | XLPE | ABB | XLPE | ACEC | XLPE | EWT | EWT | EWT | XLPE |  | GEC |  |  |  | SUN POWER
2 | BRAND | EPE | EPE | AMPSTON | EPE | AEG | TAMCO | EPE | TAMCO |  | PILC | ABB ELEKTRIK SANAYI | PILC | ASEA LEPPER | PILC | ABB | ABB | ABB | PILC | [5 empty] | BERKAT INSAF
3 | BRAND | FUJI | GEC | EPE | GEC | AREVA |  | GEC | LUCY |  |  | ACEC |  | CHANG CHING |  | AEI | AEI | AEI
4 | BRAND | GEC | HITACHI | FUJI | HITACHI | EPE |  | ITEM | SSE |  |  | AM SGB |  | ELIN |  | ALAF CEKAL | ALAF CEKAL | ALAF CEKAL
5 | BRAND | ITEM | HI-VAC | GEC | TAMCO | ITEM |  | SIEMENS | SCHNEIDER |  |  | BHARAT |  | EMO-OHRID |  | ALGEBRA | ALGEBRA | ALGEBRA
6 | BRAND | MITSUBISHI | TAMCO | ITEM | S&S AMPSTON | RANHILL |  | TAMCO | FALCON BETA |  |  | CRAIOVA |  | EWT |  | ALTENA | ALTENA | ALTENA
7 | BRAND | S&S AMPSTON | TOSHIBA | MEIDEN | S&S POWER | SIEMENS |  | TOPRANK | TOPRANK |  |  | CRAIOVA ROMANIA |  | IEO TRANSFORMATOREN BREDA |  | AMPSTON | AMPSTON | AMPSTON
8 | BRAND | S&S POWER |  | MITSUBISHI | S&S TOPRANK | TAMCO |  | TOSHIBA | EPE |  |  | ELECTRA |  | KIRLOSKAR |  | ANZECO POWER | ANZECO POWER | ANZECO POWER
9 | BRAND | S&S TOPRANK |  | RANHILL |  | TOSHIBA |  | TSG | ORMAZABAL |  |  | ELECTRO PUTERE |  | LKH |  | BONAR LONG | BONAR LONG | BONAR LONG
10 | BRAND | SIEMENS |  | S&S AMPSTON |  | TSG |  |  | F&G |  |  | FUJI ELECTRIC |  | MINEL-TRAFO |  | E.A.M | E.A.M | E.A.M
11 | BRAND | TAMCO |  | S&S POWER |  |  |  |  | MERLIN GERIN |  |  | HEFEI |  | MITSUBISHI |  | EPE | EPE | EPE
12 | BRAND | TOPRANK |  | S&S TOPRANK |  |  |  |  | ABB |  |  | HERMANN MATERN |  | MTM |  | GEC | GEC | GEC
13 | BRAND | TOSHIBA |  | SIEMENS |  |  |  |  | INFRAKOMAS |  |  | HYUNDAI |  | NACC |  | INDKOM | INDKOM | INDKOM
14 | BRAND |  |  | TAMCO | [7 empty] | LEEEC |  | NEW KOREA |  | ITEM | ITEM | ITEM
15 | BRAND |  |  | TOPRANK | [7 empty] | LIAOYANG |  | PAUWEL TRAFO |  | JEAN MULLER | JEAN MULLER | JEAN MULLER
16 | BRAND |  |  | TOSHIBA | [7 empty] | MITSUBISHI |  | SCHNEIDER |  | MTM | MTM | MTM
17 | BRAND |  |  | TSG | [7 empty] | MTM |  | SGB |  | POLYPHASE | POLYPHASE | POLYPHASE
18 | BRAND |  |  | VEI | [7 empty] | NANCHANG |  | T.M.C.-S.A. |  | PRONUTEC | PRONUTEC | PRONUTEC
19 | BRAND | [10 empty] | RADE KONCAR |  | TOSHIBA |  | PSB | PSB | PSB
20 | BRAND | [10 empty] | SAVIGLIANO |  | WODEN |  | SCHNEIDER | SCHNEIDER | SCHNEIDER
21 | BRAND | [10 empty] | SHENYANG |  |  |  | SSE | SSE | SSE
22 | BRAND | [10 empty] | SHIHLIN |  |  |  | TAMCO | TAMCO | TAMCO
23 | BRAND | [10 empty] | TAKAOKA |  |  |  | TAMCO CUTLER HAMMER | TAMCO CUTLER HAMMER | TAMCO CUTLER HAMMER
24 | BRAND | [10 empty] | TUR INDIA |  |  |  | TAN & LOW | TAN & LOW | TAN & LOW
25 | BRAND | [10 empty] | WILSON |  |  |  | TEKNIK | TEKNIK | TEKNIK
26 | BRAND | [10 empty] | XI'AN |  |  |  | TENAGA | TENAGA | TENAGA
27 | BRAND | [14 empty] | TOPRANK | TOPRANK | TOPRANK
28 | BRAND | [14 empty] | TOSHIBA | TOSHIBA | TOSHIBA
29 | BRAND | [14 empty] | WELL PRESTIGE | WELL PRESTIGE | WELL PRESTIGE
30 | BRAND | [14 empty] | WOODEN | WOODEN | WOODEN
31 | BRAND
32 | BRAND
33 | BRAND
34 | BRAND
35 | BRAND
36 | BRAND
37 | BRAND
38 | BRAND
39 | BRAND
40 | BRAND
41 | BRAND
42 | BRAND
43 | BRAND
44 | BRAND
45 | BRAND
46 | BRAND
47 | BRAND
48 | BRAND
49 | BRAND
50 | BRAND
OFFSET(Brand!$C$1,1,MATCH($L3,Brand!$C$1:$AH$1,0)-1,COUNTA(OFFSET(Brand!$C$1,1,MATCH($L3,Brand!$C$1:$AH$1,0)-1,50)),1)

## RAW DATA
| START | END
IR
DG

## vi_library (hidden)
SUBSTATION_TYPE | CHECKMARK
INDOOR | ✅
OUTDOOR
PAT
COMPACT
ATTACHED BUILDING
INDOOR/COMPACT
OUTDOOR/COMPACT

## substation_library (hidden)
AREA | STATE
JOHOR BAHRU | JOHOR

## equipment_library (hidden)
SWITCHGEAR_TYPE | CB_POSITION_RMU | CB_POSITION_VCB | BUSBAR_POSITION | CABLE_TYPE | SWG_MANUFACTURER | SWG_MODEL | SWG_RATING | TX_MANUFACTURER | TX_MODEL | TX_RATING | TX_AREA | LV_MANUFACTURER | LV_MODEL | LV_RATING | BATT_MANUFACTURER | BATT_MODEL | VCB 33kV | VCB 22kV | VCB 11kV | VCB 6.6kV | GIS 33kV | GIS 22kV | GIS 11kV | RMU SF6 | RMU OIL | CABLE SWG | PTX | CABLE PTX | LTX/DTX | CABLE LTX/DTX | FP (J) | LVDB | FP (D) | CABLE LVDB/FP | LINK BOX | BREAKER (SW YARD) | ISOLATOR (SW YARD) | CT (SW YARD) | BLACK BOX | BATTERY CHARGER | EARTHING | ISOLATOR LINK | PIN ISOLATOR | DROPOUT FUSE | LBS | LIGHTNING ARRESTOR | AUTO RECLOSER | PT AR
RMU SF6 | CLOSE | CLOSE | MAIN | XLPE |  |  | 6.6kV |  | H/S | 1000kVA | OVERVIEW |  | DIN TYPE | 1600A | BERKAT INSAF | SEB100-30-10 | ABB | ABB | ABB | ABB | ABB | SIEMENS | ABB | INDKOM | TAMCO | XLPE | ABB | XLPE | ACEC | XLPE | EWT | EWT | EWT | XLPE |  | GEC |  |  |  | SUN POWER
MRMU SF6 | TRIP | TRIP | RESERVE | PILC |  |  | 12kV |  | C/T | 750kVA | OVERVIEW TOP |  | J-SLOTTED | 1000A | SUNPOWER |  | EPE | EPE | AMPSTON | EPE | AEG | TAMCO | EPE | TAMCO |  | PILC | ABB ELEKTRIK SANAYI | PILC | ASEA LEPPER | PILC | ABB | ABB | ABB | PILC | [5 empty] | BERKAT INSAF
RMU OIL |  | SERVICE/CLOSE | MAIN/RESERVE | N/A |  |  | 24kV |  |  | 500kVA | HV BUSHING |  |  | 800A |  |  | FUJI | GEC | EPE | GEC | AREVA |  | GEC | LUCY |  |  | ACEC |  | CHANG CHING |  | AEI | AEI | AEI
VCB |  | SERVICE/TRIP | N/A | NOT ACCESSIBLE |  |  | 36kV |  |  | 300kVA | HV CABLE |  |  | 400A |  |  | GEC | HITACHI | FUJI | HITACHI | EPE |  | ITEM | SSE |  |  | AM SGB |  | ELIN |  | ALAF CEKAL | ALAF CEKAL | ALAF CEKAL
GIS |  | TEST/TRIP |  | BUSBAR | [5 empty] | 100kVA | HV CABLE SPLIT |  |  | N/A |  |  | ITEM | HI-VAC | GEC | TAMCO | ITEM |  | SIEMENS | SCHNEIDER |  |  | BHARAT |  | EMO-OHRID |  | ALGEBRA | ALGEBRA | ALGEBRA
ACB |  | RACK OUT | [7 empty] | N/A | LV BUSHING | [5 empty] | MITSUBISHI | TAMCO | ITEM | S&S AMPSTON | RANHILL |  | TAMCO | FALCON BETA |  |  | CRAIOVA |  | EWT |  | ALTENA | ALTENA | ALTENA
PAT | [9 empty] | NOT ACCESSIBLE | LV CABLE | [5 empty] | S&S AMPSTON | TOSHIBA | MEIDEN | S&S POWER | SIEMENS |  | TOPRANK | TOPRANK |  |  | CRAIOVA ROMANIA |  | IEO TRANSFORMATOREN BREDA |  | AMPSTON | AMPSTON | AMPSTON
[17 empty] | S&S POWER |  | MITSUBISHI | S&S TOPRANK | TAMCO |  | TOSHIBA | EPE |  |  | ELECTRA |  | KIRLOSKAR |  | ANZECO POWER | ANZECO POWER | ANZECO POWER
[17 empty] | S&S TOPRANK |  | RANHILL |  | TOSHIBA |  | TSG | ORMAZABAL |  |  | ELECTRO PUTERE |  | LKH |  | BONAR LONG | BONAR LONG | BONAR LONG
[17 empty] | SIEMENS |  | S&S AMPSTON |  | TSG |  |  | F&G |  |  | FUJI ELECTRIC |  | MINEL-TRAFO |  | E.A.M | E.A.M | E.A.M
[17 empty] | TAMCO |  | S&S POWER |  |  |  |  | MERLIN GERIN |  |  | HEFEI |  | MITSUBISHI |  | EPE | EPE | EPE
[17 empty] | TOPRANK |  | S&S TOPRANK |  |  |  |  | ABB |  |  | HERMANN MATERN |  | MTM |  | GEC | GEC | GEC
[17 empty] | TOSHIBA |  | SIEMENS |  |  |  |  | INFRAKOMAS |  |  | HYUNDAI |  | NACC |  | INDKOM | INDKOM | INDKOM
[19 empty] | TAMCO | [7 empty] | LEEEC |  | NEW KOREA |  | ITEM | ITEM | ITEM
[19 empty] | TOPRANK | [7 empty] | LIAOYANG |  | PAUWEL TRAFO |  | JEAN MULLER | JEAN MULLER | JEAN MULLER
[19 empty] | TOSHIBA | [7 empty] | MITSUBISHI |  | SCHNEIDER |  | MTM | MTM | MTM
[19 empty] | TSG | [7 empty] | MTM |  | SGB |  | POLYPHASE | POLYPHASE | POLYPHASE
[19 empty] | VEI | [7 empty] | NANCHANG |  | T.M.C.-S.A. |  | PRONUTEC | PRONUTEC | PRONUTEC
[27 empty] | RADE KONCAR |  | TOSHIBA |  | PSB | PSB | PSB
[27 empty] | SAVIGLIANO |  | WODEN |  | SCHNEIDER | SCHNEIDER | SCHNEIDER
[27 empty] | SHENYANG |  |  |  | SSE | SSE | SSE
[27 empty] | SHIHLIN |  |  |  | TAMCO | TAMCO | TAMCO
[27 empty] | TAKAOKA |  |  |  | TAMCO CUTLER HAMMER | TAMCO CUTLER HAMMER | TAMCO CUTLER HAMMER
[27 empty] | TUR INDIA |  |  |  | TAN & LOW | TAN & LOW | TAN & LOW
[27 empty] | WILSON |  |  |  | TEKNIK | TEKNIK | TEKNIK
[27 empty] | XI'AN |  |  |  | TENAGA | TENAGA | TENAGA
[31 empty] | TOPRANK | TOPRANK | TOPRANK
[31 empty] | TOSHIBA | TOSHIBA | TOSHIBA
[31 empty] | WELL PRESTIGE | WELL PRESTIGE | WELL PRESTIGE
[31 empty] | WOODEN | WOODEN | WOODEN