## 33kV (Main)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU)
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
1 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
2 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
3 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
4 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
5 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
6 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
7 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
8 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
A | RHS PANEL (OVERVIEW) | [7 empty] | FRONT
BACK
TOP
CABLE CELLAR
MBB
RBB
B | LHS PANEL (OVERVIEW) | [7 empty] | FRONT
BACK
TOP
CABLE CELLAR
MBB
RBB
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 33kV (Extra)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU) - Page Extra
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
9 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
10 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
11 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
12 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
13 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
14 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
15 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
16 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 33kV (Extra) (2)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU) - Page Extra
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
17 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
18 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
19 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
20 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
21 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
22 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
23 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
24 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 11kV (Main)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU)
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
1 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
2 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
3 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
4 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
5 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
6 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
7 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
8 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
A | RHS PANEL (OVERVIEW) | [7 empty] | FRONT
BACK
TOP
CABLE CELLAR
MBB
RBB
B | LHS PANEL (OVERVIEW) | [7 empty] | FRONT
BACK
TOP
CABLE CELLAR
MBB
RBB
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 11kV (Extra)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU) - Page Extra
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
9 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
10 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
11 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
12 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
13 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
14 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
15 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
16 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 11kV (Extra) (2)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU) - Page Extra
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
17 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
18 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
19 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
20 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
21 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
22 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
23 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
24 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## 11kV (Extra) (3)
CBA SWITCHGEAR TEST SHEET (PMU/PPU/SSU) - Page Extra
Page No:
CBM Condition
1.0 Job Details: | [7 empty] | 2.0 Switchgear Details: | [7 empty] | 3.0 Background Data
1.1 Substation Name: | [7 empty] | 2.1 Manufacture: | [7 empty] | 3.1 Background Temp (ɛ = 1.0):
1.2 Substation Location: | [7 empty] | 2.2 Manufacturing Year: | [7 empty] | 3.2 Humidity:
1.3 Date of Scanning: | [7 empty] | 2.3 Model: | [7 empty] | 3.3 Background (TEV):
1.4 Time: | [7 empty] | 2.4 Last Preventive Maintenance Date:
2.4 Type of Busbar:
2.5 Rating (kV):
NO. | PANEL NO. | FEEDER NAME | CABLE TYPE | BREAKER POSITION | BREAKER STATUS | BUSBAR POSITION | LOAD (A) | HEATER (A) WHEN ON / OFF | COMPARTMENT | THERMOGRAPHY | [5 empty] | TEV |  | ULTRASOUND
[10 empty] | REF. TEMP (°C) | MAX TEMP (°C) | ∆T | AVG TEMP (°C) | Image No. | Remarks / Other Defects | Reading (dB) | Pulses / Cycle | Reading (dB) | Type of Characteristic | Remarks / Other Defects
25 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
26 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
27 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
28 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
29 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
30 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
31 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
32 | [7 empty] | ON | BREAKER
CABLE
[8 empty] | OFF | BUSBAR (TOP)
PT COMPARTMENT
CABLE ENTRY
LINK BOX
| Tested by (Name & Signature): |  | {{signvendor}} |  |  |  | TNB Supervisor / Engineer (Name & Signature): |  |  | {{signtnb}}
** N/A = NOT ACCESSIBLE
| Date: | [5 empty] | Date:
Ver. : 1-2019

## TX
Company Name |  |  |  | CBM SUBSTATION TEST SHEET (PMU/PPU/SSU) | [21 empty] | Test Sheet No: | Page No:
CBM Condition
1. Substation Details: |  |  |  | 2. Transformer Details:
1.1 | Substation Name: |  |  | TX 1 |  | MODEL: |  | TX 2 | MODEL: |  | TX 3 | MODEL: |  | TX 4 | MODEL: |  | LOCAL TX |  | MODEL:
|  |  |  | 2.1 Manufacturer: |  |  |  | 2.1 Manufacturer: |  |  | 2.1 Manufacturer: |  |  | 2.1 Manufacturer: |  |  | 2.1 Manufacturer:
|  |  |  | 2.2 Rating (MVA): |  |  |  | 2.2 Rating (MVA): |  |  | 2.2 Rating (MVA): |  |  | 2.2 Rating (MVA): |  |  | 2.2 Rating (KVA):
|  |  |  | 2.3 Serial No. : |  |  |  | 2.3 Serial No. : |  |  | 2.3 Serial No. : |  |  | 2.3 Serial No. : |  |  | 2.3 Serial No. :
TRANSFORMER
DETAILS | [6 empty] | ULTRASOUND | [7 empty] | THERMOGRAPHY | [9 empty] | Remarks
No. | TX No. |  | Load ( A) |  | Cable Type |  | HV Cable |  |  |  | LV Cable |  |  |  | HV Cable |  |  |  |  | LV Cable
[7 empty] | Reading (dB) | Type Charc. |  | File | Reading (dB) | Type Charc. |  | File | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File
1 | TX 1
2 | TX 2
3 | TX 3
4 | TX4
5 | Local TX
DETAILS |  |  | THERMOGRAPHY
No | TX No |  | Marshalling Kiosk | [5 empty] | Conservator Tank | [5 empty] | Body | [5 empty] | Cooling Fin |  |  |  |  | Remarks
|  |  | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File |  | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File |  | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File |  | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File
1 | TX 1
2 | TX 2
3 | TX 3
4 | TX 4
5 | LOCAL TX
LV DISTRIBUTION BOARD/FEEDER PILLAR/OTHERS
Rating (A):
Serial No.:
Type:
Manufacturer:
LVDB / FP |  | INC 1 | INC 2 | INC 3 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8
Cable Type
Cable Size
No | LVDB / FP | Cable Type | Cable Size | Ref. Temp (°C) | Max Temp (°C) | Defect ∆T | Avg Temp (°C) | File | Load (A) |  |  |  | Remarks
[9 empty] | Red | Yellow | Blue | Neutral
1
2
ULTRASOUND Type Characteristic
3 | [15 empty] | A | Arcing
[16 empty] | T | Tracking
4 | [15 empty] | C | Corona
[16 empty] | MV | Mechanical Vibration
5
Testing Company: |  |  | INC 2: {{signvendor}}; F8: TNB Supervisor (Name & Signature): |  |  | {{signtnb}} | [6 empty] | TNB Engineer (Name & Signature):
Tested by (Name & Signature): |  |  | F8: Date : | [9 empty] | Date :
** N/A = NOT ACCESSIBLE / APPLICABLE
Note on L31: -Masalah ditapak-hanya pada waktu malam shj yg sesuai utk ambil Thermo. -Jika di ambil pada waktu siang reflection.
Note on X31: Column Tambahan

## Visual Inspection
VISUAL INSPECTION CHECKLIST FOR PMU/PPU/SSU
| Substation Name |  |  |  |  | GPS:
Date
On-line Visual Audits and Diagnostic Tests :
1 | Verifications of Switchgear External Condition |  |  |  |  | Remarks
| 1.1 No water marks on the panels |  | YES | NO | N/A
| 1.2 All covers and door bolted properly |  | YES | NO | N/A
| 1.3 Opening and interpanel gaps sealed |  | YES | NO | N/A
2 | Verification of Switchgear Internal Components and Compartments
| 2.1 No dust ingress, wind blown dust penetration |  | YES | NO | N/A
| 2.2 No gas leakages detected in GIS switchgear ( i.e check SF6 level) |  | YES | NO | N/A
| 2.3 No oil leakage for OCBs. i.e. check oil level |  | YES | NO | N/A
| 2.4 Heaters at every compartment are functioning and in good condition |  | YES | NO | N/A
3 | Switchgear & Substation Earthing
| 3.1 Proper earth connection between all switchgear |  | YES | NO | N/A
| 3.2 Proper earth connection to common earth |  | YES | NO | N/A
| 3.3 Proper Switchgear earthing installation. i.e copper / stay wire / stollen / disconnected |  | YES | NO | N/A
4 | Power Transformer Condition
| 4.1 No leaks at Power Transformer |  | YES | NO | N/A
| 4.2 Adequate oil at Main Tank. i.e. to check oil level at main tank |  | YES | NO | N/A
| 4.3 Adequate oil at OLTC Tank. i.e. to check oil level at OLTC tank |  | YES | NO | N/A
| 4.4 Cooling Fan are in place and functioning or fuse blown/faulty MCB |  | YES | NO | N/A
| 4.5 No anormalities or any indication of corrosion or leaks at HV and LV cable box |  | YES | NO | N/A
| 4.6 Transformer tail earthing is in proper and good condition |  | YES | NO | N/A
| 4.7 Cable entry openings properly sealed. |  | YES | NO | N/A
| 4.8 Chequer plate provided. |  | YES | NO | N/A
| 4.9 Proper Transformer earthing installation. i.e copper / stay wire / stollen / disconnected |  | YES | NO | N/A
5 | NER Condition
| 5.1 Proper NER earthing installation. i.e copper / stay wire / stollen / disconnected |  | YES | NO | N/A
| 5.2 Proper earth bars and links |  | YES | NO | N/A
(Note:If there have any defect occur, record in testsheet under remarks thermography)
6 | Field Cable Verifications
| 6.1 Power cables properly supported i.e power cables / power transformer / local transformer |  | YES | NO | N/A
| 6.2 Power cable opening properly sealed. i.e cable entry sealed |  | YES | NO | N/A
7 | Building
| 7.1 Good roof condition i.e. no leakage |  | YES | NO | N/A
| 7.2 Good battery charger condition (110VDC) |  | YES | NO | N/A
8 | Other Findings :
FE EXP. DATE:
Tested by (Name & Signature): |  | {{signvendor}} | TNB Supervisor / Engineer (Name & Signature): |  |  |  | {{signtnb}}
Ver. : 1-2019
Note on B42: Tambahan pada ayat.

## RAW DATA
| START | END
IR
DG